Substrate composition and moisture in composting source-separated human

faeces and food waste

C. Niwagaba ab, *, M. Nalubegaa, B. Vinneras bc, C. Sundbergb and H. Jonssonbd

"Department of Civil Engineering, Makerere University, P.O. Box 7062, Kampala, Uganda; bDepartment of Energy and Technology, Swedish University of Agricultural Sciences, P.O. Box 7032, SE-750 0 7, Uppsala, Sweden;cNational Veterinary Institute, SE-751 89 Uppsala, Sweden;dStockholm Environment Institute, Kraftriket 2B, 10691, Stockholm, Sweden (Received 5 November 2008; Accepted 30 January 2009)

Abstract

The composting of a faeces/ash mixture and food waste in relative proportions of 1:0, 1:1 and 1:3 was studied in three successive experiments conducted in Kampala, Uganda in 216 L reactors insulated with 75 mm styrofoam or not insulated. The faeces/ash mixture alone exceeded 50° C for < 12 days in insulated reactors, but did not reach or maintain 50° C in non-insulated reactors. Inclusion of food waste kept temperatures above 50° C for over two weeks in insulated reactors except when the substrate was too wet. Escherichia coli and total coliform concentrations decreased below detection in material that exceeded 50 ° C for at least six days. Enterococcus spp. decreased below detection in material that exceeded 50° C for at least two weeks, but remained detectable after 1.5 months in material that exceeded 50 ° C for less than two weeks, suggesting that a period of at least two weeks above 50° C, combined with mixing, is needed to achieve sanitation. Initially substrates that were too wet proved a challenge to composting and ways of decreasing substrate moisture should be investigated. The results obtained are applicable to the management of small- to medium-scale composting of faeces/ash and food waste at household and institution levels, e.g. schools and restaurants.

Keywords:

composting; faeces; food waste; insulation; temperature