CMP4102 Instrumentation and Control Engineering

| Period per Week | Contact Hour per Semester | Weighted Total Mark | Weighted Exam Mark | Weighted Continuous Assessment Mark | Credit Units |
| --- | --- | --- | --- | --- | --- |
| LH | PH | TH | CH | WTM | WE | WCM | CU |

| 45 | 30 | 00 | 60 | 100 | 60 | 40 | 4 |
| --- | --- | --- | --- | --- | --- | --- | --- |

Rationale

The computer is an electronic device whose design and manufacture utilizes a great deal of instrumentation and control engineering concepts. A student of computer engineering has to be exposed to the relevance of these fundamental concepts in the design of computer circuitry.

Objectives

This course aims at:

	Enabling student   understand  that control systems are a daily phenomena, that virtually everything needs feedback, that electronic or electromechanical systems most times include a feedback loop, either explicitly or implicitly.

	Giving the student knowledge of analog and digital control engineering concepts.

This course aims to help the student with:

	Knowledge of procedures for measuring and improving the reliability of digital components within measuring systems.

	Knowledge of the formal standards governing instrument calibration procedures and measurement system performance.

	An  introduction  on the topic  of sensors  and their  use within  instrumentation systems.

	Knowledge of the principles and theory of measurement

Course Content

1. 	Review of Measurement Specification

   Standards, units- instrument types

   performance characteristics: static and dynamic characteristic

2. 	Measuring system

3. 	Analogue Instruments

   Moving coil,

   iron instruments

4. 	Digital Instruments

   Multimeters

   data analysers

   signal synthesisers.

5. 	Counters and timers

6. 	Measuring Errors

   Random errors

   Systematic errors

7. 	Transducers

   Measurement of displacement

   velocity and acceleration

   time and frequency

   light,

   temperature, volume, pressure, flow and force

8. 	Analogue Data Processing

   The operational amplifier

   Characteristics

   Configurations

9. 	Simulation of differential equations and transfer function

10. 	Data Acquisition and Conversion

   Sampling theorem

   Quantisation

   Multiplexing

   filtering sample and hold

   Bridge Circuits

11. 	Introduction to design of feedback systems

   Properties and advantages of feedback systems

12. 	Time-Domain And Frequency-Domain  Performance Measures

13. 	Stability And Degree Of Stability

14. 	Complex Plane Analysis

   Algebra

   Applications to Control Engineering

15. 	Stability Criteria

   Routh’s Criterion

   Root locus method

   Nyquist criterion

16. 	Bode Plots

   Introduction

   Frequency response analysis

17. 	Unit Circle

   PID Compensator

   time response

18. 	State Space Analysis

   Observability

   Controllability and the corresponding vectors

19. 	Digital Control System

   z transforms

   Jury Test

Learning Outcomes

The student will:

   Be able to comfortably check for stability of any system using any criteria.

   Understand the concept of control system engineering, why it is carried out and will appreciate its application in digital control.

   Acquire knowledge of the type of measuring  instruments and be able to appreciate why certain instruments are m ore favourable in a particular environment and requirement (accuracy or precision among others);

   Understand the types of errors that occur during measurement and how best they can be minimised during experimental setup.

   Acquire concepts on sensors and their use in design of automated systems.

Recommended Books and References

[1] 	William L. Brogan, Modern Control Theory, 2nd ed., Prentice-Hall, 1985

[2] 	Nise, N. S, Control Systems Engineering, 3rd ed., New York, NY: Wiley, 2000.

[3] 	Allan S. Morris,  Measurement  and Instrumentation  Principles,  3rd  ed., Butterworth

Heinemann, 2001

[4] 	K. Ogata, Discrete- Time Control Systems