MEC 4205 Air Conditioning and Refrigeration

| Hours per Semester | Weighted Total Mark | Weighted Exam Mark | Weighted Continuous Assessment Mark | Credit Units |
| --- | --- | --- | --- | --- |
| LH | PH | TH | CH | WTM | WEM | WCM | CU |
| 45 | 30 | 00 | 60 | 100 | 60 | 40 | 4 |

Brief Description of Course:

This course builds on Applied Thermodynamics Course. It gives a much more detailed study on air conditioning and refrigeration and expands on what was introduced in the earlier course.

Objectives of the Course:

The objectives of this course are:

- To introduce the principles and concepts of heating and cooling.

- To introduce the concept of refrigeration and air conditioning.

Expected Outcomes:

At the end of this course, a student should be able to:

- Perform heating and cooling load calculations

- Describe a refrigeration and air conditioning system

- Analyze a vapor compression and absorption system

Course Content:

Psychrometric Design	(4 Hours)

- Properties of Humid Air

- Psychrometric Processes

Heating and Cooling Loads	(8 Hours)

- Thermal Comfort

- Air Quality

- Thermal Transmission

- Infiltration and Ventilation Loads

- Components of the Cooling Load

- Internal Loads

- Solar Loads through Transparent Surfaces

- Solar Loads through Opaque Surfaces

- Cold-room design

Air-Conditioning Systems	(8 Hours)

- Thermal Distribution Systems

- Classic Single-Zone Systems

- Multiple-Zone Systems

- Terminal-Reheat System

- Dual-Duct or Multizone System

- Variable-Air-Volume Systems

Fan and Duct Systems	(4 Hours)

- Pressure drop in ducts and fittings

- Design of duct systems

- Centrifugal fans and their characteristics

- Fan laws

Refrigeration Plant	(9 hours)

- The expansion valve

- Evaporators

- Compressors

- Condensers

- Refrigerants

Vapour Compression System Analysis	(4 Hours)

- Balance points and System simulation

- Condenser Performance using both graphical and mathematical analysis

- Evaporator Performance using graphical and mathematical analysis

Absorption refrigeration (4 Hours)

- The Absorption Cycle

- The LiBr-Water Cycle

- Temperature, pressure, heat quantities and flow rates for the LiBr-Water cycle

- Coefficient of Performance

- Crystallization

- Capacity Control

- Aqua-Ammonia System

Noise Control	(2 Hours)

Acoustic Design in buildings

• Fan and air noise transmission in ducts

Maintenance and Commissioning

Commissioning Duct air-leakage test Airflow regulation Gas detectors

Ventilation rate measurement Maintenance schedule

Practicals	(45 Hours)

Delivery Methods:

The course will be taught by using lectures and tutorials

Assessment Methods:

Course work (assignments and tests) and final examination and their relative contributions to final grade are shown as follows:

Requirement	Percentage contribution

Course work	40%

Final examination	60%

Total	100%

References:

  - B K Venkanna and B V Swati, 2011. Applied Thermodynamics. Phi Learning Pvt Ltd, ISBN:	978-81-203-4113-5

  - Onkar Singh, 2009. Applied Thermodynamics 3/e. New Age International (P) Ltd, ISBN: 978-8122425833

  - R.K. Rajput, 2009. Applied Thermodynamics. Laxmi Publications, ISBN: 9788131805831

  - P K, Nag, 2002. Basic and Applied Thermodynamics. Tata McGraw-Hill, ISBN: 0070473382

  - T.D. Eastop and A. Mcconkey, 1993. Applied Thermodynamics for Engineering Technologists. Longman Group UK Limited, ISBN: 978-0-582-09193-1